U–Pb Zirkon Jeokronolijisi Kullanılarak İç Hellenid’lerin

Paleotektonik Ortamı ve Potansiyel Kaynak Alanı

Guido Meinhold1 ve Dirk Frei2

1 CASP, University of Cambridge, 181a Huntingdon Road, Cambridge CB3 0DH, UK

(E-posta: guido.meinhold@casp.cam.ac.uk)

2 Geological Survey of Denmark and Greenland, Øster Voldgade 10, DK-1350 Copenhagen, Denmark

Son yıllarda, lazer ablasyon indükleyici-çift plazma kütle spektrometresinin (LA-ICP-MS) başkalaşım, metamorfik kayalarda ve döküntü zirkonların Pb-Pb ve U-Pb yaş tayini için hızlı, nispeten daha ucuz ve yeterince hızlı bir teknik olduğu kanıtlanmıştır. Burada yüksek uzaysal çözünürlük U-Pb yaşlandırması lazer ablasyon sektöralanlı indükleyici-çift plazma kütle spektrometresini (LA-SF-ICP-MS) sunmaktayız. Paleozoyik ve Mezozoyik boyunca eski önemli magmatik olaylarının ve potansiyel kaynak alanlarının değerlendirilmesi için Heleniklerin iç kısmındaki (Yunanistan) farklı sedimanter istiften gelen döküntü zirkon taneleri incelenmiştir. Taneli sedimater kayalardaki çalışmalar paleotektonik araştırmalarda çok önemlidir çünkü bunlar kaynak alandaki kaya litolojileri hakkında bilgi verebilirler. Kaynak alan levha tektoniğinin gelişimi sırasında tamamen ortadan kaybolmuş ya da başka bir ortama dönüşmüş olabilir. Ayrıca, fosil ve diğer stratigrafik verilerin bulunmaması durumunda, sediman içindeki en geç tane (zirkon vb) depolanma yaşı için en üst sınırı gösterebilir.

Bu çalışmada, zirkonun ‘in-situ’ U-Pb yaş tayini için basit bir yöntem uyguladık. Bu Danimarka ve Grönland Jeoloji Kurumu’nda (Frei & Gerdes 2008, Chem. Geol.) ThermoFinnigan Element2 manyetik sectoralanlı ICP-MS ile eşleştirilen ve frekansı 5 kat artırılmış Nd-YAG (213 nm) lazer ablasyon sistemi ile uygulanmıştır. Bu yöntem, manyetik sectoralanlı ICP-MS yüksek hassasiyetin avantajından yararlanır ve 4 kutuplu ICP-MS yöntemi ile karşılaştırıldığında daha iyi bir çözünürlükle (silindir çapı 30 mm ve az ve derinlik çözünürlüğü 15 to 20 mm)  zirkonun U-Pb yaşlandırılmasına imkan sağlar.

Anahtar Sözcükler: LA-ICP-MS, jeokronoloji, zirkon, kaynak, Yunanistan

Constraints on Provenance and Palaeotectonic Setting

of the Internal Hellenides from U–Pb Zircon Geochronology

Guido Meinhold1 & Dirk Frei2

1 CASP, University of Cambridge, 181a Huntingdon Road, Cambridge CB3 0DH, UK

(E-mail: guido.meinhold@casp.cam.ac.uk)

2 Geological Survey of Denmark and Greenland, Øster Voldgade 10, DK-1350 Copenhagen, Denmark

In recent years, laser ablation inductively-coupled plasma mass spectrometry (LA-ICP-MS) has proven to be a rapid, comparably inexpensive and sufficiently precise technique for in-situ Pb–Pb and U–Pb age determinations of igneous, metamorphic and detrital zircons. Here, we present high-spatial resolution U–Pb dating by laser ablation sector-field inductively-coupled plasma mass spectrometry (LA-SF-ICP-MS) of detrital zircon grains from various clastic sedimentary successions of the internal Hellenides of Greece to evaluate potential source regions and ancient major magmatic events during Palaeozoic and Mesozoic times. The study of clastic sedimentary rocks is crucial for palaeotectonic reconstructions because they can provide information about rock lithologies in the source area which have often been destroyed and recycled during ancient plate tectonic processes. Furthermore, in the absence of fossil and other stratigraphic data, the youngest grain (e.g. zircon) in a sedimentary rock can indicate a maximum limit for the age of deposition.

In this study, we applied a simple method for in-situ U–Pb age determinations of zircons using a ThermoFinnigan Element2 magnetic sectorfield ICP-MS coupled to a frequency quintupled Nd-YAG (213 nm) laser ablation system at the Geological Survey of Denmark and Greenland (Frei & Gerdes 2008, Chem. Geol.). This method takes advantage of the very high sensitivity of the magnetic sectorfied ICP-MS and allows U–Pb age dating of zircons with significantly better spatial resolution (i.e. spot diameters of 30 micrometers and below and a depth resolution of 15 to 20 micrometers) compared to quadrupole ICP-MS based methods.

Key Words: LA-ICP-MS, geochronology, zircon, provenance, Greece